## Slide 1: Seminar on OIML D 1
Proposal of regulations for
(legal) metrology
42nd CIML Meeting, Shanghai,
2007-10-23
Manfred Kochsiek, Nguyen Hung Diep

## Slide 2: Seminar on OIML D 1
With D 1 „Elements for a Law on Metrology“ OIML established a guideline
Special situation in Europe: Members of EU have to follow European Directives like - MID - Measurement Instrument Directive, (2004/22/EEC) - Non-automatic weighing Instrument Directive (90/384/EEC) - Medical Devices Direcive (MDD) - …
Situation today:
Law on Metrology is a national task

## Slide 3: Seminar on OIML D 1
Reasons:
Different history of legal metrology
Obligatory calibration of measuring instruments
Involvement of private service provider in type approval and verification
Central or federal system (e.g. USA, Germany)
approval (= federal), verification (= states) - Organization of structure
The national Laws on metrology are all different, even in Europe

## Slide 4: Seminar on OIML D 1
Most of the democratic states have the model of
separation of powers established in their constitution.
This model comprises mainly 3 branches:
the Executive
the Legislative
the Judicial
Due to time constraints it is not possible to deal with this model in
detail, therefore in the following it is summarized in one branch

## Slide 5: Seminar on OIML D 1
Order of laws, decrees, standards for organizing the metrological infrastructure
Law on Metrology
Decree with essential
requirements for organi-
zation, procedures,
measuring instruments
Binding regulations,
technical and other based on
OIML Recommendations,
ISO/IEC, …
Voluntary standards
on international,
regional
and national basis

## Slide 6: Seminar on OIML D 1
Order of laws, decrees, standards for organizing
the metrological infrastructure
Law on Metrology
Scope of OIML D 1
Parliament/
General Assembly/
Prime Minister

## Slide 7: Seminar on OIML D 1
Order of laws, decrees, standards for organizing the
metrological infrastructure
Decree with essential
requirements for
organization,
procedures,
measuring instruments
Binding regulations,
technical and other
based on
OIML Recommendations,
ISO/IEC, …
Voluntary standards
on international,
regional
and national basis
Empowerments in the law
used by Responsible Ministry
for detailed regulations
to be observed by manufacturers,
users of measuring instruments
Issued by legal metrology
authority,
mainly for the enforcement
agencies (verification procedures,
reporting, conformity assessment)
As “guidelines” for
“conformity assessment”,
testing, manufacturing, …
OIML
Recommendations
e.g. ISO 17025

## Slide 8: Seminar on OIML D 1
Situation in Germany today
Decree with essential
requirements for organi-
zation, procedures,
measuring instruments
Verification Act
(under revision),
Units Act and Time Act
(will be merged)
Verification Ordinance
(23 Appendices)
Law on
Metrology

## Slide 9: Seminar on OIML D 1
These are:
Appendix 1: Length measuring instruments (MID)
Appendix 2: Area measuring instruments (MID)
Appendix 3: Volume measuring devices for non-liquid products (---)
Appendix 4: Volume measuring devices for liquids at rest (---)
Appendix 5: Volume measuring devices for liquids other than water (MID)
Appendix 6: Volume measuring devices for running water (MID)
Appendix 7: Gas meters (MID)
Appendix 8: Weights (OIML)
Appendix 9: Non-automatic weighing instruments (NSW-RL)
Appendix 10: Automatic weighing instruments (MID)
Appendix 11: Measuring instruments for cereals and oleaginous fruits (---)
Appendix 12: Volume measuring instruments for laboratory purposes (---)
Appendix 13: Density measuring instruments (---)
Appendix 14: Temperature measuring instruments (---)
Appendix 15: Medical measuring instruments (cancelled) (now Medical devices having a measuring function in accordance with the
prescriptions of the Medical Devices Users Ordinance (MDD*)
Appendix 16: Tyre pressure measuring instruments (---)
Appendix 17: Measuring intruments for use in dairying (---)
Appendix 18: Measuring instruments for use in traffic (at the moment MID)
Appendix 19: Time meters/stop watches(---)
Appendix 20: Electricity meters (MID)
Appendix 21: Sound level meters (---)
Appendix 22: Measuring instruments for thermal energy, warm and hot water meters for heat exchanger circuits (MID)
Appendix 23: Measuring instruments for use in radiation protection (---)
* MDD = Directive on Medical Products
Verification ordinance – General Regulations- with appendices

## Slide 10: Seminar on OIML D 1
Order of laws, decrees, standards for organizing the
metrological infrastructure
Binding regulations,
technical and other based
on IML Recommendations,
ISO/IEC, …
Voluntary standards
on international, regional
and national basis
Administrative regulation
including
technical regulations
Generally recognized
technical rules
(e.g. Kiel collection)

## Slide 11: Seminar on OIML D 1
Situation in Vietnam
Vietnam´s Ordinance of metrology, No. 16/1999/PL- UBTVQH10 approved by Standing Committee of Vietnam National Assembly and promulgated by Vietnam‘s Predident in year 1999
- 12 additional decrees, decisions and circulars
- 100 technical regulations

## Slide 12: Seminar on OIML D 1
Aim for the future
A new Law on metrology for Vietnam will be upgraded from above mentioned Ordinance of Metrology
♦ taking into account the developments of
the last years and the experience in the field of metrology in some other countries in Europe and Asia,
♦ facing the future (privatization, accreditation, systems of instruments, software, …)

## Slide 13: Seminar on OIML D 1
Headlines/Articles for a
Law on Metrology on the basis of OIML D 1
1. Aim/subject of the Law on metrology
2. Definitions
3. National metrology infrastructure/ National metrology policy/strategy
4. National metrology Institute
5. National measurement standards
6. Legal units of measurement
7. Legal metrology
8. Status of regulations on decrees/ordinances
9. Requirement for measuring instruments
10. Fees/financial provisions
11. Offences
12. Fines/penalties
13. Coming into force/transition period

## Slide 14: Seminar on OIML D 1
1. Aim/subject of the Law on metrology: Field of application: To provide the legal base and empowerments for detailed
regulations in decrees, ordinances, …
2. Definitions: Only main and important definitions like measurement
instruments, measurement standards, national metrology
institutions should be mentioned, reference to VIM and
OIML VIML. If possible, a sentence such as „For terms not
defined here the definition given in the VIM or VIML
respectively shall apply”.
3. National metrology infrastructure/ National metrology policy/strategy like:
- Support national industry
- Consumer protection, environmental protection
- International recognition
- Fair trade

## Slide 15: Seminar on OIML D 1
4. National metrology Institute (and others entrusted with the
realization of national measurement standards not available
at the NMI): Tasks, organization
5. National measurement standards
Traceability chain (SI system or equivalent) or
Certified Reference Materials
6. Legal units of measurement
SI, not covered by SI
Multiples and subdivisions, writing, application
Use of non legal units in historical documents and specified
areas (see OIML, D 1, III, 3)

## Slide 16: Seminar on OIML D 1
7. Legal metrology Organization Bodies in legal metrology
Regulations
Applications Market inspection / surveillance
Prepackages
Special items like precious metals
Marking
Stamps, seals
Responsibility and powers (see OIML, D 1, VI, 4)
Liability of persons and corporate bodies (see OIML, D 1,VI, 2)
8. Status of regulations on decrees/ordinances
Concerning organization
Essential requirements
Cooperation with other countries

## Slide 17: Seminar on OIML D 1
9. Requirement for measuring instruments
Type approval
Initial and subsequent conformity of instruments
(Initial and subsequent verification)
Conformity assessment
In service inspection, market inspection
Field surveillance
Withdrawal from use
List of measuring instruments is subject to legal regulations
(or field of application)
10. Fees/financial provisions
Different principles:
1. Cost recovering system
2. Subsidized system because of a governmental decision
to provide consumer protection free of charge
3. Mixture of systems

## Slide 18: Seminar on OIML D 1
11. Offences
The paragraphs must be mentioned explicitely,
the non-observation of which will be penalized
12. Fines/penalties
Should be severe enough in order to prevent
repetition Publication of offenders could be a
useful means
13. Coming into force/transition period
Should be long enough to avoid unacceptable
high financial losses and/or to allow for adequate
adaptation to the new regulations.

## Slide 19: Seminar on OIML D 1
Results of my reflections (1)
National laws of metrology are unique and must always be seen in
relation to national conditions
An outside consultant cannot define this law in detail, it needs native
metrologists and lawyers
The Law on metrology should be made as short as possible because it
needs the Parliament to change it
All necessary information and regulations, which are not defined in the
Law, should be defined in decrees, circulars, …which normally come
under the responsibility of the Ministry
For binding technical regulations OIML Recommendations should be
used

## Slide 20: Seminar on OIML D 1
Results of my reflections (2)
Nevertheless the OIML should give an example for minimum regulations more detailed.
This might be an outcome of today´s seminar.

## Slide 21: Seminar on OIML D 1
Thank for your attention
manfred.kochsiek@ptb.de