OIML TC 3/SC 5

Work item  –  Amendment to OIML B 10 (2011)

Comments on the Draft Amendment 1CD (20 October 2011)

| Draft Amendment | Country | Comments on and proposals for modifications | Secretariat’s response |
| --- | --- | --- | --- |
| 2.1 Section 3.19 (new) | USA | It must be clearly and prominently stated that the use of a MTL test laboratory and MTD was used when this is the case. This should be done on the test report. Also, what tests were done at the MTL and what MTD test data was used should be identified. | Agreed. This is included in the new section 2.7 of the amendment (= section 11.5.4 of B10) |
| 2.3 Section 4.5 (new) | USA | It must be clearly and prominently stated that the use of a MTL test laboratory and MTD was used when this is the case. This should be done on the test report. Also, what tests were done at the MTL and what MTD test data was used should be identified. | Agreed. This is included in the new section 2.7 of the amendment (= section 11.5.4 of B10) |
|  | Poland | In order to fulfil the principle mentioned in 4.5.5 it would be useful to indicate, how Issuing Participants should designated the principal issuing participant. | Agreed. Section 2.3 of the amendment (= section 4.5.5 of B10) has been modified accordingly. |
| 2.5 Section 9.1 | Canada | For utilizing participants, it is optional to accept or not, results of tests issued by Manufacturer’s Testing Facility. Utilizing participants do not have to justify refusal of results of tests issued by Manufacturer’s Testing Facility. | Agreed. This is included in the new section 2.8 of the amendment (= section 13.4 of B10) |
|  | CECIP (non voting) | 9.1 from B10 2nd clause has to be modified. The sentence "For example , results of tests provided by manufacturers ……. shall not be used to issue an MAA Certificate" is in contradiction with the scope of the amendment | Agreed. With the new section 2.5 of the amendment (= section 9.1 of B10) this is settled. |
| 2.6 Section 10.1 | Poland | We agree with proposal section 10.1, but in our opinion new version of this section is not related to including MTLs into document B10 | We partially agree. The amendment to section 10.1 of B10, however, is necessary in order that any test lab (not only an MTL) can be included in an existing DoMC. |
| Section 11.4.4 | Canada | In case there are several Testing Laboratories and/or Manufacturer’s Testing Laboratories conducting tests according to the relevant Recommendation, each Testing Laboratories and/or Manufacturer’s Testing Laboratories shall issue a Test Report which identifies the issuer and includes the results of the tests it has conducted | Not agreed. This is already covered by section 11.4.1 of B10 which states that the provisions defined in 5.4.1, ... of OIML B3 apply. In section 5.4.1 of B3 it is clearly stated that “...each Testing Laboratory shall issue a Test Report which includes the results of the tests it has conducted.” |